## Relations
Object 1 | Relation | Object 2
UHVCOMP1 | hasPart | MANUF1
UHVCOMP2 | hasPart | MANUF1
AUTH1 | hasPart | PERS1
| hasPart | INSTIT1
AUTH2 | hasPart | PERS2
| hasPart | INSTIT1
| hasPart | INSTIT2
AUTH3 | hasPart | PERS3
| hasPart | INSTIT1
MOLPREC1 | hasPart | SUPPL2
| hasPart | MOL1
MAINT1 | hasPart | UHVCOMP1
MAINT2 | hasPart | UHVCOMP2
INSTR1 | hasPart | UHVCOMP1
| hasPart | UHVCOMP2
| hasPart | ROOM1
| hasPart | MANUF1
CRYSTMAT1 | hasPart | SUPPL1
| hasPart | CRYST1
SPUT1 | hasPart | CRYSTMAT1
| hasPart | INSTR1
ANNEAL1 | hasPart | SPUT1
DEPOS1 | hasPart | ANNEAL1
| hasPart | MOLPREC1
ANNEAL2 | hasPart | DEPOS1
STM1 | hasPart | ANNEAL2
SPUT2 | hasPart | ANNEAL2
ANNEAL3 | hasPart | SPUT2
SPUT3 | hasPart | ANNEAL3
ANNEAL4 | hasPart | SPUT3
DEPOS2 | hasPart | ANNEAL4
| hasPart | MOLPREC1
ANNEAL5 | hasPart | DEPOS2
AFM1 | hasPart | ANNEAL5
RES1 | hasPart | STM1
RES2 | hasPart | AFM1
DRF1 | hasPart | RES1
| hasPart | RES2
PUBL1 | hasPart | DRF1
| hasPart | AUTH1
| hasPart | AUTH2
| hasPart | AUTH3
| hasPart | GRANT2

## Supplier
ID | name | email | workPhone | address
SUPPL1 | Mateck
SUPPL2 | Feng Group

## Room
ID | name | comments
ROOM1 | La037

## Manufacturer
ID | name | email | workPhone
MANUF1 | Pfeiffer Vacuum

## Crystal
ID | name | material | face
CRYST1 | Au111 | Au | 111

## CrystalMaterial
ID | name | samplePlate | diameter | height | hazardous | hazardousSpecification | fridge | noLight | dry | noOxygen | otherStorageCondition | otherStorageConditionSpecification | specifications | receivedDate | referenceNumber | comments
CRYSTMAT1 | Au111_Gino | Mo068 | 0.009 | 0.0025 | FALSE |  | TRUE | FALSE | FALSE | FALSE | FALSE |  | plane-parallel, Pol. < 0.01 um, Or. < 0.1 | 2016-02-04 | 19031510

## Molecule
ID | name | iupacName | sumFormula | smiles | casNumber
MOL1 | Molecule 531a | 6,12-dinaphthalen-2-ylchrysene | C38H24 | C1(C#C/C(C2=CC(C=CC=C3)=C3C=C2)=C(C#CC4=CC=CC=C4)\C5=CC(C=CC=C6)=C6C=C5)=CC=CC=C1 | 663954-29-8

## MoleculePrecursor
ID | name | empaNumber | batch | vial | hazardous | hazardousSpecification | evaporationTemperatures | fridge | noLight | dry | noOxygen | otherStorageCondition | otherStorageConditionSpecification | chemistMoleculeName | amount | receivedDate | comments
MOLPREC1 | Molecule 531a | 531 | a | i | FALSE |  | SRD, 234, 6/2/2021, 12:33:02; 6-Fold LT, 250, 23/10/2021, 16:12:22 | TRUE | FALSE | FALSE | FALSE | FALSE |  | QC76820 | 100 mg | 22/08/2021

## Person
ID | name | username | workStatus | email | workPhone | mobilePhone
PERS1 | Carlo A. Pignedoli | pica | Active | carlo.pignedoli@empa.ch | 0041587654206
PERS2 | Roman Fasel | faro | Active | roman.fasel@empa.ch | 0041587654348
PERS3 | Pascal Ruffieux | rupa | Active | pascal.ruffieux@empa.ch | 0041587654693

## Author
ID | name
AUTH1 | Carlo A. Pignedoli
AUTH2 | Roman Fasel
AUTH3 | Pascal Ruffieux

## Institution
ID | name | description | address
INSTIT1 | Empa, Swiss Federal Laboratories for Materials Science and Technology, Dubendorf, Switzerland |  | Ueberlandstrasse 129, 8600 Dübendorf
INSTIT2 | Department of Chemistry, Biochemistry and Pharmaceutical Sciences, University of Bern, Bern, Switzerland |  | Freiestrasse 3, 3012 Bern

## Grant
ID | name | funder | startDate | endDate | budget | currency | projectId | acknowledgement | comments
GRANT1 | PREMISE | SNF | 2023-01-04 | 2026-01-04 | 1000000 | CHF
GRANT2 | CHICRESCE | SNF | 2023-01-04 | 2026-01-04 | 1000000 | CHF

## Instrument
ID | name | serialNumber | empaId | documentationWebsite | receivedDate | comments
INSTR1 | THz-STM/AFM | CT-122037110-03 | 76698965 | http://wikka.empa.ch | 2021-12-08

## UHVComponent
ID | name | type | model | serialNumber | empaId | receivedDate | comments
UHVCOMP1 | Ion Pump/TSP | Pump | HiPace 300 | 796857466 | 76698965 | 2017-04-03
UHVCOMP2 | Turbo Qplus FEL | Pump | HiPace 300 | 796857466 | 76698965 | 2017-04-03

## Maintenance
ID | name | description
MAINT1 | Cleaning | Cleaning the pump
MAINT2 | Change screw | Changing the screw

## FillCryostat
ID | name | weightBefore | weightAfter | cryostatSubstance | dewar | comments
FILLCRYO1 | Fill Cryostat 16021 | 56.7 | 55.7 | LHe | 3

## Chemist
ID | name | email | workPhone
CHEM1 | Qiang Huang

## Publication
ID | name | abstract | doi | year | url | datasetUrl | comments
PUBL1 | On-surface polyarylene synthesis by cycloaromatisation of isopropyl substituents | Immobilization of organic molecules on metal surfaces and their coupling via thermally induced C–C bond formation is an important technique in organic and polymer synthesis. Using this approach, insoluble and reactive carbon nanostructures can be synthesized and the reactions monitored in situ using scanning probe microscopy methods. The diversity of conceivable products, however, is limited by the number and variety of known on-surface reactions. Here, we introduce the on-surface synthesis of polyarylenes by intermolecular oxidative coupling of isopropyl substituents of arenes. This [3+3] dimerization reaction forms a new phenylene ring and can be regarded as a formal cycloaromatization. The synthetic value of this reaction is proved by the synthesis of polyarylenes and co-polyarylenes, which we demonstrate by synthesizing poly(2,7-pyrenylene-1,4-phenylene). Scanning tunnelling microscopy and non-contact atomic force microscopy studies, complemented by density functional theory calculations, offer mechanistic insight into the on-surface cycloaromatization reaction. | https://doi.org/10.1038/s44160-022-00032-5 | 2022 | https://www.nature.com/articles/s44160-022-00032-5 | https://archive.materialscloud.org/record/2022.12

## Sputtering
ID | name | duration | pressure | dischargeVoltage | voltage | temperature | angle | current | comments
SPUT1 | Sputtering 16008 | 600 | 0.00235 |  | 704 |  |  | 0.004
SPUT2 | Sputtering 16013 | 1200 | 0.0024 | 1.06 | 704 |  |  | 0.004
SPUT3 | Sputtering 16013 Second | 600 | 0.0023 | 1.06 | 720 |  |  | 0.004

## Annealing
ID | name | duration | pressure | dischargeVoltage | voltage | temperature | angle | current | comments
ANNEAL1 | Annealing 16008 | 900 | 0.00235 |  | 20.4 | 693.15 |  | 1.15
ANNEAL2 | Annealing 16008 Second | 600
ANNEAL3 | Annealing 16013 | [7 empty] | Annealled gradually to minimise degasing up to 1.0A current.
ANNEAL4 | Annealing 16013 Second | 3600 | [6 empty] | Annealled to 1.13A for approximately 1 hour till pressure awas in mid E-9 mbar range.
ANNEAL5 | Annealing 16013 Third

## Deposition
ID | name | stabilisationTime | depositionTime | pressure | substrateTemperature | moleculeTemperature | evaporatorSlot | comments
DEPOS1 | Deposition 16009 | 0 | 10800 | 6e-08 | 528 | 298 | 3 | Evaporator Slot 3. The PID values to get 25C were 25,27,5. The sample was heated at 0.65A, and the deposition was started 10 min after starting the sample hat. The smaple was kept such that the sample normal and the flux were parallel (180°). The shutter was opepend for 3 hours then closed.
DEPOS2 | Deposition 16020 | 0 | 36000 | 4e-08 | 528 | 293 | 3 | The sample was kept at 135° and the shutter was open for 10 hrs. The molecule was not heated, but the temperature rose from 19.3 to 20°. Substrate Temperature: (PM:0.6A 12V)235°C

## STM
ID | name | recordingTime | acquisitionTime | biasSetpoint | biasCalibrationFactor | biasCalibrationOffset | currentSetpoint | currentCalibrationFactor | currentCalibrationOffset | currentGain | z | feedbackActive | feedbackType | zControllerSetpoint | zControllerPGain | zControllerIGain | zControllerTimeConst | zControllerTipLift | zControllerSwitchOffDelay | piezoActiveCalib | piezoSensitivityX | piezoSensitivityY | piezoSensitivityZ | piezoHVGainX | piezoHVGainY | piezoHVGainZ | scanSlopeX | scanSlopeY | piezoCurvatureRadiusX | piezoCurvatureRadiusY | piezo2ndOrderCorrectionX | piezo2ndOrderCorrectionY | piezoDriftX | piezoDriftY | piezoDriftZ | piezoDriftCorrectionStatus | scanField | scanAngle | scanOffsetX | scanOffsetY | scanTimeX | scanTimeY | scanRangeX | scanRangeY | scanPixelsX | scanPixelsY | scanSpeedForward | scanSpeedBackwards | scanDirection | dwellTime | sampleTemperature | recordingTemperature | eMin | eMax | dE | FWHM | extrapPlane | constantHeight | constantCurrent | pTipRatio | comments
STM1 | Bricklet 7 Trace Up STM | 2022-08-11 08:06 | 20 | 0.7 | 1 | -8e-05 | 4.9982e-11 | 1e-09 | -2.0147e-13 | 1000000000 | -6.1076e-08 | TRUE | [48 empty] | This recpie works, and we get much better sample quality.

## Result
ID | name | description | comments
RES1 | First Result
RES2 | Second Result

## Draft
ID | name | type | comments
DRF1 | On-surface polyarylene synthesis by cycloaromatization of isopropyl substituents | Preprint

## AFM
ID | name | recordingTime | acquisitionTime | biasSetpoint | biasCalibrationFactor | biasCalibrationOffset | currentSetpoint | currentCalibrationFactor | currentCalibrationOffset | currentGain | z | feedbackActive | feedbackType | zControllerSetpoint | zControllerPGain | zControllerIGain | zControllerTimeConst | zControllerTipLift | zControllerSwitchOffDelay | piezoActiveCalib | piezoSensitivityX | piezoSensitivityY | piezoSensitivityZ | piezoHVGainX | piezoHVGainY | piezoHVGainZ | scanSlopeX | scanSlopeY | piezoCurvatureRadiusX | piezoCurvatureRadiusY | piezo2ndOrderCorrectionX | piezo2ndOrderCorrectionY | piezoDriftX | piezoDriftY | piezoDriftZ | piezoDriftCorrectionStatus | scanField | scanAngle | scanOffsetX | scanOffsetY | scanTimeX | scanTimeY | scanRangeX | scanRangeY | scanPixelsX | scanPixelsY | scanSpeedForward | scanSpeedBackwards | scanDirection | dwellTime | sampleTemperature | recordingTemperature | oscillationControlDifferentialInput | oscillationControlOneTen | oscillationControlInputCalibration | oscillationControlInputRange | oscillationControlCenterFrequency | oscillationControlRange | oscillationControlDemodulationInput | oscillationControlDemodulationFrequency | oscillationControlDemodulationReferencePhase | oscillationControlDemodulationCutoffFrequency | oscillationControlDemodulationHarmonic | oscillationControlDemodulationFilterOrder | oscillationControlPhasePGain | oscillationControlPhaseIGain | oscillationControlPhaseControllerOn | oscillationControlFrequencyShift | oscillationControlAmplitudeSetpoint | oscillationControlAmplitudePGain | oscillationControlAmplitudeIGain | oscillationControlAmplitudeControllerOn | oscillationControlExcitation | oscillationControlOutputAmplitudeRange | oscillationControlOutputOff | oscillationControlOutputAdd | oscillationControlPLLSetupQFactor | oscillationControlPLLSetupDemodBWAmp | oscillationControlPLLSetupDemodBWPha | oscillationControlPLLSetupAmplitudeExcitation | comments | scandx | scanZMin | scanZMax | afmAmplitude | resonanceFrequency | pModel
AFM1 | Bricklet 274 Traceup AFM | 2021-02-19 12:31 |  | -0.01 |  |  | 1e-10 | [73 empty] | Decent nc-AFM image obtained of a long polymer and its end. The end clearly shows the propenyl group. The reaction therefore is going as predicted.